## Apr 26_Supreme
Sr. No. | Particulars | Value | Units
1 | Technical
a | Capacity | 2600 | MW
b | Specific Generation | 1550 | kWh/kWp
2 | Commerical
a | EPC Rate | 33000 | ₹/kWp
b | EPC Cost | 85800000
c | Land Cost | 5070000
d | Total Project Cost | 90870000
g | O&M rate | 650 | /kWp/annum
h | O&M Cost | 1690000 | /annum
2 | Open Access Working
1 | Solar Generation Capacity | 4499.83 | kWp
| Solar Generation Capacity | 3300 | kW
2 | CUF | 17.69%
3 | Solar Supplied unit at Generation Bus Bar | 237415
3.b | Less: Wheeling Loss (7.50%) | 17806.125
3.c | Less: State Transmission Loss (3.28%) | 7203.1711
3.d | Quantum at buyers periphery | 212405.7039
4.a | Add: Wheeling Charge (0.74) | 192306.15
4.b | Add: State Transmission Charge (0.8771) | 242163.3
4.c | Add: Operating Charge | 16500
5 | Total Charges | 450969.45
4 | Consumption Details
a | Month | 2026-04-01
b | Contract Demand (kVA) | 1800
c | Energy Charges (₹/kVAh) | 8.44
d | Demand Charges (₹/kVA) | 650
e | Wheeling Charges (₹/kVAh) | 0.81
f | FAC (₹/kVAh) | 0.5
g | Tax on Sales (₹/kVAh) | 0.2894
h | Power Factor | 1
i | Maximum Demand (kVA) | 1488
j | Electricity Duty | 7.5% | 8.44 | -1.27 | 2.11 |  |  |  |  | Reference for TOD calculation of Solar Generation
|  | Zone A | Zone B | Zone C | Zone D | Total |  |  |  | Zone A | Zone B | Zone C | Zone D | Total
k | Consumption Before Solar | 166499 | 71263.75 | 215033.75 | 210750.5 | 663547 |  | 123322.6008 | TOD Charges | 166499 | 71263.75 | 215033.75 | 210750.5 | 663547
l | Solar Units at consumption end | 0 | 11870.75 | 201802.75 | 23741.5 | 237415 | 209644 | TOD SOLAR Generation metre |  | 0 | 11870.75 | 201802.75 | 23741.5 | 237415 | 237415
m | Billed Consumption after Solar | 166499 | 59393 | 13231 | 187009 | 426132 |  |  |  | 166499 | 59393 | 13231 | 187009 | 426132
n | TOD Rate | 0 | 0 | -1.27 | 2.11 |  |  |  |  | 0 | 0 | -2.17 | 2.17
| Load Factor | 51 | 33 | [6 empty] | 0% | 5% | 85% | 10%
| Load Factor Incentive | 0% | 0%
| Billed Demand | 1488 |  |  |  | =166499+59393+13231+187009
Bulk Consumption Slab
| (100000-1000000 kWh) | 563547 | 326132 | -16803.37 | 394588.99
| (1000000 kWh - 5000000 kWh) | 0 | 0
| (5000000 kWh +) | 0 | 0
Bulk Consumption Rebate
| (100000-1000000 kWh) | 0.07
| (1000000 kWh - 5000000 kWh) | 0.09
| (5000000 kWh +) | 0.11
Incremental Consumption Rebate
| Reference Units | 564383

## Bill After Solar_Apr 26
Sr. No. | Particulars | Before Solar | After Solar - Captive
1 | Consumption Details
a | Base month | 2026-04-01 | 2026-04-01
b | Source 1 - MSEDCL | 663547 | 426132
c | Source 2 - Solar Power Plant | 0 | 237415
d | Total Consumption | 663547 | 663547
2 | Computation of Electricity Bill based on consumption in Apr-26
A | Bill for MSEDCL Consumption
i | Demand Charges | 967200 | 967200
ii | Wheeling Charges | 537473.07 | 345166.92
iii | Energy Charges | 5600336.68 | 3596554.08
iv | TOD Tariff Energy Charges | 171590.6925 | 377785.62
v | FAC | 331773.5 | 213066
vi | Electricity Duty | 570628.0457 | 412482.9465
vii | Bulk Consumption Rebate | -39448.29 | -22829.24
viii | Tax on Sale | 192030.5018 | 123322.6008
ix | Load Factor Incentive | 0 | 0
x | Incremental Consumption Rebate | -74373 | 0
xi | Charges for Excess Demand | 0 | 0
xii | Tax Collection at Source | 0 | 0
xiii | Debit Bill adjustment | 0 | 609816.75
xiv | Total Bill for MSEDCL Consumption | 8257211.2 | 6622565.6773
B | Bill for Open Access
| Tax on Sale |  | 68707.901
i | Wheeling Charges | 0 | 192306.15
ii | Transmission Charges | 0 | 242163.3
iii | Operating Charges | 0 | 16500
iv | Total Bill for Open Access | 0 | 519677.351
C | Total MSEDCL Bill | 8257211.2 | 7142243.0283
D | O&M Cost per month | 0
D | Total Cost of power | 8257211.2 | 7142243.0283
F | Net Savings |  | 1114968.1717
G | Simple Payback ( Capex Cost / Monthly Savings) |  | 82
D | Average Cost of Power | 12.444 | 10.7637
E | Total Savings |  | 1114968.1717
F | % Savings |  | 13.5%
Formulas:
After Solar - Captive = [Before Solar]